## 01 Kupac
R.br. | Naziv podatka | ElementName (engleski naziv) | Tip podatka | Ograničenja | Primjer podataka | Šifarnik (da/ne) | Šifarnik | Značenje podatka | Definicija prema ebIX standardu | Referenca na dokument sa https://www.ebix.org/artikel/documents
1 | Naziv kupca | Customer name | ALFANUMERIČKI NIZ | 256 karaktera | I NOVINE BH D.O.O. PJ KIOSK-PRODAVNICA 47 ILIDŽA (primjer podatka za pravno lice) | NE |  | Naziv kupca (ime i prezime fizičkog lica/naziv pravnog lica) koji je evidentiran u informacionom sistemu ODS-a ili snabdjevača. | The name of the Customer | ebIX_Business_Requirements_for_Align_characteristics_for_Customer_linked_to_MP_v1r0C_20180605.pdf
| Adresa kupca | CustomerAddress | SLOŽENI TIP | složeni podatak sa strukturom definisanom elementima 2-9 ove tabele |  |  |  | Adresa kupca (za fizička lica) ili adresa sjedišta kupca (za pravna lica) | The address of the Customer | ebIX_Business_Requirements_for_Align_characteristics_for_Customer_linked_to_MP_v1r0C_20180605.pdf
2 | Grad | City name | ALFANUMERIČKI NIZ | 100 karaktera | Sarajevo | DA | CityCode | Adresa mjernog mjesta | The name, expressed as text, of the city, town or village of this address | ebIX_Business_Requirements_for_Align_characteristics_for_Customer_linked_to_MP_v1r0C_20180605.pdf
3 | Opština | Municipality | ALFANUMERIČKI NIZ | 100 karaktera | Centar | DA | MunicipalityCode | Naziv grada ili sela u okviru adrese kupca | The name, expressed as text, of the municipality e of this address | ebIX_Business_Requirements_for_Align_characteristics_for_Customer_linked_to_MP_v1r0C_20180605.pdf
4 | Ulica | Street name | ALFANUMERIČKI NIZ | 256 karaktera | Kranjčevićeva | DA | StreetCode | Naziv opštine u okviru adrese kupca | The name, expressed as text, of this street or this thoroughfare of this address | ebIX_Business_Requirements_for_Align_characteristics_for_Customer_linked_to_MP_v1r0C_20180605.pdf
5 | Ulični broj | Building number | ALFANUMERIČKI NIZ | 8 karaktera | 37 | NE |  | Naziv ulice u okviru adrese kupca | The number, expressed as text, of the building or house on this street at this address | ebIX_Business_Requirements_for_Align_characteristics_for_Customer_linked_to_MP_v1r0C_20180605.pdf
6 | Poštanski broj | Postcode | INTEGER | 5 cifara | 71000 | DA | PostalCode | Ulični broj u okviru adrese kupca | The code specyfing the postcode of this address | ebIX_Business_Requirements_for_Align_characteristics_for_Customer_linked_to_MP_v1r0C_20180605.pdf
7 | Broj stana | Room Identification | ALFANUMERIČKI NIZ | 4 karaktera | 12 | NE |  | Poš u okviru adrese kupca | The identification, expressed as text, of the room, suite, office or apartment as part of this address. | ebIX_Business_Requirements_for_Align_characteristics_for_Customer_linked_to_MP_v1r0C_20180605.pdf
8 | Broj sprata | Floor Identification | ALFANUMERIČKI NIZ | 2 karaktera | 3 | NE |  | Naziv ulice u okviru adrese kupca | The identification by name or number, expressed as text, of the floor in the building as part of this address. | ebIX_Business_Requirements_for_Align_characteristics_for_Customer_linked_to_MP_v1r0C_20180605.pdf
9 | Država | Country | ALFANUMERIČKI NIZ | 20 karaktera | Bosna i Hercegovina | DA | CountryCode | Naziv države u okviru adrese kupca | The unique identifier of the country for this address (Reference ISO 3166 and UN/ECE Rec 3) | ebIX_Business_Requirements_for_Align_characteristics_for_Customer_linked_to_MP_v1r0C_20180605.pdf
10 | Identifikator kupca | Customer ID | INTEGER | 16 cifara | 4201964320101 | NE
11 | JIB kupca | Unique ID number | INTEGER | 12 cifara | 200225150005 | NE |  | Jedinstveni identifikacioni broj kupca za pravna lica
12 | PDV broj kupca | VAT number | INTEGER | 13 cifara | 4200225150005 | NE |  | Porezni broj kupca, za pravna lica
13 | Šifra lične karte kupca | IDCardNumber | ALFANUMERIČKI NIZ | 9 karaktera | 09BRI0736 | NE |  | Broj/šifra lične karte kupca
14 | Identifikator kupca kod ODS-a | Grid Customer ID | INTEGER | 14 cifara | 87222243500234 | NE |  | Jedinstveni identifikacioni broj kupca za u informacionom sistemu ODS-a | The unique identification of the Grid Customer
15 | Identifikator kupca kod Snabdjevača | Supply Customer ID | INTEGER | 14 cifara | 87222243500234 | NE |  | Jedinstveni identifikacioni broj kupca za u informacionom sistemu snabdjevača | The unique identification of this Supply Customer
16 | Komunikacioni kanal | Communication channel | ALFANUMERIČKI NIZ | 10 znakova | telephone, e-mail | DA | CommunicationChannelCode | Kod koji specificira komunikacioni kanal koji se može koristiti za komunikaciju sa kupcem | The code specifying the channel or way communication with the Customer or contact can be made, such as telephone or e-mail | ebIX_Business_Requirements_for_Align_characteristics_for_Customer_linked_to_MP_v1r0C_20180605.pdf
17 | Kontakt telefon/e-mail adresa kupca | Communication number/address | ALFANUMERIČKI NIZ | 100 karaktera |  | NE |  | Niz karaktera koji predstavlja potpunu adresu ili broj koji se može koristiti za komunikaciju sa kupcem | A text string or characters that makes up the complete number or address for this communication | ebIX_Business_Requirements_for_Align_characteristics_for_Customer_linked_to_MP_v1r0C_20180605.pdf
18 | Preferirani komunikacioni kanal | Preferred | BOOLEAN |  | yes, no | NE |  | Označava varijablu koja definiše da li je određeni komunikacioni kanal kupca preferirani | A text string or characters | Business Requirements for Alignment of Metering Point characteristics.pdf
Note on B12: Upitno je da li nam ovaj podatak ima stvarnu upotrebnu vrijednost, obzirom da nemamo jedinstvene identifikatore kupaca (kao što imamo za mjerna mjesta). Standard predviđa jedinstven ID kupaca. Pored toga, mi trenutno imamo predviđene podatke ID kupca kod ODS-a i ID kupca kod snabdjevača (koji je vjerovatno trenutno kod većine kompanija isti), pa je nejasno koji bi ovo podatak bio ako nije jedan od ta dva ID-a. Koristiti podatak kao opcionalan?
Note on B18: nismo imali uključen ovaj podatak u našem EDI standardu, ali ga ebIX standard predviđa, pa razmotriti da se doda

## 02 Mjerno mjesto
R.br. | Naziv podatka | ElementName (engleski naziv) | Tip podatka | Ograničenja | Primjer podataka | Šifarnik (da/ne) | Šifarnik | Značenje podatka | Definicija prema ebIX standardu | Referenca na dokument sa https://www.ebix.org/artikel/documents
1 | EIC Z kod mjernog mjesta | Metering point ID | ALFANUMERIČKI NIZ | 16 cifara | 36Z0110075261187 | NE |  | Jedinstvena šifra mjernog mjesta po kojoj se identificira mjerno mjesto na maloprodajnom tržištu električne energije, a čiji je format definisan u skladu sa EDI standardom za BiH. | The unique identification of the Metering Point the Request is intended for. | ebIX_Business_Requirements_for_Alignment_of_MP_characteristics_v3r3C_20120180605
2 | Šifra mjernog mjesta/DB broj | Internal metering point ID | INTEGER | 8 cifara | 7526118 | NE |  | Jedinstvena šifra mjernog mjesta po kojoj se unutar informacionog sistema svakog ODS-a jednoznačno identificira mjerno mjesto. Ove šifre u pravilu imaju različite formate za svaki ODS.
| Adresa mjernog mjesta: | Metering point address | složeni podatak sa strukturom definisanom elementima 3-10 ove tabele |  |  |  |  | Adresa mjernog mjesta | The address of a Metering Point | Business Requirements for Alignment of Metering Point characteristics.pdf
3 | Grad | City name | ALFANUMERIČKI NIZ | 100 karaktera | Sarajevo | DA | CityCode | Naziv grada ili sela u okviru adrese mjernog mjesta | The name, expressed as text, of the city, town or village of this address | Business Requirements for Alignment of Metering Point characteristics.pdf
4 | Opština | Municipality | ALFANUMERIČKI NIZ | 100 karaktera | Centar | DA | MunicipalityCode | Naziv opštine u okviru adrese mjernog mjesta | The name, expressed as text, of the municipality e of this address | Business Requirements for Alignment of Metering Point characteristics.pdf
5 | Ulica | Street name | ALFANUMERIČKI NIZ | 256 karaktera | Kranjčevićeva | DA | StreetCode | Naziv ulice u okviru adrese mjernog mjesta | The name, expressed as text, of this street or this thoroughfare of this address | Business Requirements for Alignment of Metering Point characteristics.pdf
6 | Ulični broj | Building number | ALFANUMERIČKI NIZ | 8 karaktera | 37 | NE |  | Ulični broj u okviru adrese mjernog mjesta | The number, expressed as text, of the building or house on this street at this address | Business Requirements for Alignment of Metering Point characteristics.pdf
7 | Poštanski broj | Postcode | INTEGER | 5 cifara | 71000 | DA | PostalCode | Poš u okviru adrese mjernog mjesta | The code specyfing the postcode of this address | Business Requirements for Alignment of Metering Point characteristics.pdf
8 | Broj stana | Room Identification | ALFANUMERIČKI NIZ | 4 karaktera | 12 | NE |  | Naziv ulice u okviru adrese mjernog mjesta | The identification, expressed as text, of the room, suite, office or apartment as part of this address. | Business Requirements for Alignment of Metering Point characteristics.pdf
9 | Broj sprata | Floor Identification | ALFANUMERIČKI NIZ | 2 karaktera | 3 | NE |  | Broj sprata u okviru adrese mjernog mjesta | The identification by name or number, expressed as text, of the floor in the building as part of this address. | Business Requirements for Alignment of Metering Point characteristics.pdf
10 | Država | Country | ALFANUMERIČKI NIZ | 20 karaktera | BiH | DA | CountryCode | Naziv države u okviru adrese mjernog mjesta | The unique identifier of the country for this address (Reference ISO 3166 and UN/ECE Rec 3) | Business Requirements for Alignment of Metering Point characteristics.pdf
Metering point parties:
11 | Snabdjevač | Balance Supplier ID | ALFANUMERIČKI NIZ |  |  | DA | SupplierCode | Jedinstveni identifikator balansnog snabdjevača za određeno mjerno mjesto, čiji je format definisan u skladu sa EDI standardom za BiH. | The unique identification of the Balance Supplier responsible for this Metering Point. | Business Requirements for Alignment of Metering Point characteristics.pdf
12 | Balansno odgovorna strana | Balance responsible party ID | ALFANUMERIČKI NIZ |  |  | DA | BalanceResponsiblePartyCode | Jedinstveni identifikator balansno odgovorne strane za određeno mjerno mjesto, čiji je format definisan u skladu sa EDI standardom za BiH. | The unique identification of the Balance Responsible Party responsible for this Metering Point. | Business Requirements for Alignment of Metering Point characteristics.pdf
13 | ODS odgovoran za mjerno mjesto | Metered Data Responsible ID | ALFANUMERIČKI NIZ |  |  | DA | DSOCode | Jedinstveni identifikator operatora distributibne mreže odgovornog za određeno mjerno mjesto, čiji je format definisan u skladu sa EDI standardom za BiH. | The unique identification of the Metered Data Responsible, responsible for this Metering Point. | Business Requirements for Alignment of Metering Point characteristics.pdf
14 | ODS odgovoran za priključenje na mrežu | Grid Access Provider | ALFANUMERIČKI NIZ |  |  | DA | DSOCode | Jedinstveni identifikator operatora distributibne mreže odgovornog za priključenje na mrežu za određeno mjerno mjesto, čiji je format definisan u skladu sa EDI standardom za BiH. | The unique identification of the Grid Access Provider responsible for this Metering Point. | Business Requirements for Alignment of Metering Point characteristics.pdf
15 | Strana odgovorna za obezbjeđenje prenosnih kapaciteta | Transport capacity responsible party ID | ALFANUMERIČKI NIZ |  |  | DA | TransmissionResponsiblePartyCode | Jedinstveni identifikator strane odgovorne za obezbjeđenje prenosnih kapaciteta za određeno mjerno mjesto, čiji je format definisan u skladu sa EDI standardom za BiH. | The unique identification of the Transport Capacity Responsible Party responsible for this Metering Point. | ebIX_Business_Requirements_for_Alignment_of_MP_characteristics_v3r3C_20120180605
Supply Customer
16 | Naziv kupca kod ODS-a | Grid Customer Name | ALFANUMERIČKI NIZ | 256 karaktera |  | NE
17 | Identifikator kupca kod ODS-a | Grid Customer ID | ALFANUMERIČKI NIZ | 20 karaktera |  | NE
18 | Naziv kupca kod Snabdjevača | Supply Customer Name | ALFANUMERIČKI NIZ | 256 karaktera |  | NE
19 | Identifikator kupca kod Snabdjevača | Supply Customer ID | ALFANUMERIČKI NIZ | 20 karaktera |  | NE
Metering point physical characteristics:
20 | Odobrena priključna snaga –Pv | Contracted Connection Capacity | DECIMALNI BROJ |  | 6.7 | NE |  | Odobrena priključna snaga koja je ugovorena za određeno mjerno mjesto | Quantitative information about the capacity of the connection that is contracted for the Metering Point | ebIX_Business_Requirements_for_Alignment_of_MP_characteristics.pdf
21 | Mjerna jedinica za odobrenu priključnu snagu | Contracted Connection Capacity Measure Unit | ALFANUMERIČKI NIZ | 5 karaktera | kW | DA | MeasurementUnitCommonCode | Jedinica mjere kojom se izražava odobrena priključna snaga | The unit of measure used for the Contracted Connection Capacity | ebIX_Business_Requirements_for_Alignment_of_MP_characteristics.pdf
22 | Naponski nivo mjerenja | Voltage level | ALFANUMERIČKI NIZ | 6 karaktera | 0.4 kV | DA | VoltageLevelCode | Kod koji specificira naponski nivo na mjestu gdje je na mrežu priključena instalacija mjernog mjesta | A code specifying a voltage level of the grid where the installation of the Metering Point is connected | ebIX_Business_Requirements_for_Alignment_of_MP_characteristics.pdf
23 | Tip mjernog mjesta | Metering Point Type | ALFANUMERIČKI NIZ | 3 karaktera | E17 | DA | MeteringPointTypeCode | Kod koji specificira tok aktivne energije za određeno mjerno mjesto (potrošnja, proizvodnja ili kombinovano) | A code specifying the direction of the active energy flow in this Metering Point, such as consumption, production or combined | ebIX_Business_Requirements_for_Alignment_of_MP_characteristics.pdf
24 | Administrativni status mjernog mjesta | Administrative Status | ALFANUMERIČKI NIZ | 3 karaktera | E32 | DA | AdministrativeStatusCode | Kod koji specificira da li je mjerno mjesto dio ugovora za poravnanje debalansa | A code specifying whether or not the Metering Point is part of the imbalance settlement | ebIX_Business_Requirements_for_Alignment_of_MP_characteristics.pdf
25 | Operativni status mjernog mjesta | Connection Status | ALFANUMERIČKI NIZ | 3 karaktera | E23 | DA | PhysicalStatusCode | Kod koji specificira da li je mjerno mjesto fizički priključeno na mrežu i da li je moguć tok energije | A code specifying if the installation of the Metering Point is physically connected to the grid and energy flow is possible | ebIX_Business_Requirements_for_Alignment_of_MP_characteristics.pdf
Additional metering point characteristics:
26 | Kategorija potrošnje | Consumption category | ALFANUMERIČKI NIZ |  |  | DA | ConsumptionCategoryCode
27 | Tarifna grupa potrošnje | Tariff Group | ALFANUMERIČKI NIZ |  | M1 | DA | TariffGroupCode
28 | Dinamika preuzimanja (planirana potrošnja) | Estimated Monthly Consumption | DECIMALNI BROJ |  |  | NE
29 | Mjesec ugovornog perioda za koji se planira potrošnja | Month and Year for Estimated Monthly Consumption | TIMESTAMP |  |  | NE
30 | Identifikator trafo stanice sa koje se napaja mjerno mjesto | Transformer station ID | ALFANUMERIČKI NIZ |  |  | NE
31 | Naziv trafo stanice sa koje se napaja mjerno mjesto | Transformer station name | ALFANUMERIČKI NIZ |  |  | NE
32 | Identifikator NN odlaza sa kojeg se napaja mjerno mjesto | LV feeder ID | ALFANUMERIČKI NIZ |  |  | NE
33 | Identifikator distributivnog voda na kome se vrši razmjena energije |  | ALFANUMERIČKI NIZ |  |  | NE
34 | Obračunska konstanta | Billing Multiplier | DECIMALNI BROJ |  |  | NE
35 | Parametri za obračun gubitaka: | Loss calculation parameters:
36 | - Nazivni napon na primaru [V] | Rated Primary Voltage [V] | ALFANUMERIČKI NIZ | 6 karaktera | 10 kV | DA | VoltageLevelCode
37 | - Nazivna snaga transformatora [W] | Rated Transformer Poer [W] | DECIMALNI BROJ |  |  | NE
38 | - Gubici u bakru [W] | Copper Losses [W] | DECIMALNI BROJ |  |  | NE
39 | - Gubici u željezu [W] | Iron Losses [W] | DECIMALNI BROJ |  |  | NE
40 | - Napon kratkog spoja [%] | Short Circuit Voltage [%] | DECIMALNI BROJ |  |  | NE
41 | Procenat za obračun gubitaka u željezu | Percantage for Iron Losses calculation | DECIMALNI BROJ |  |  | NE
42 | Procenat za obračun gubitaka u bakru | Percantage for Copper Losses calculation | DECIMALNI BROJ |  |  | NE
43 | Mjesto priključka | Metering Point Location | ALFANUMERIČKI NIZ |  | Na stubu | DA
44 | Tip priključka | Connection Type | ALFANUMERIČKI NIZ |  |  | DA
45 | Broj priključka -BP | Connection Number | ALFANUMERIČKI NIZ |  |  | NE
Note on H27: Author: VoltageLevelCode: E04 high voltage E05 medium voltage E06 low voltage E07 HV/transformation E08 MV/transformation E09 LV/transformation
Note on H28: Author: E17 Consumption E18 Production E19 Combined
Note on H29: Author: E32 Active E33 Inactive
Note on H30: Physical Status Code: E22 Connected E23 Disconnected E30 Under construction E31 Demolished
Note on H42: Author: VoltageLevelCode: E04 high voltage E05 medium voltage E06 low voltage E07 HV/transformation E08 MV/transformation E09 LV/transformation
Note on B49: Author: Izmjenili naziv polja
Note on H49: Author: Provjeriti moguće vrijednosti za definisanje šifarnika
Note on H50: Author: Provjeriti moguće vrijednosti za definisanje šifarnika
Note on B51: Author: Deklaracija o priključku ili broj EES ili broj ugovora o priključenju (svaki ODS treba definisati šta će popunjavati u ovom polju)

## 03 Brojilo
R.br. | Naziv podatka | ElementName (engleski naziv) | Tip podatka | Ograničenja | Primjer podataka | Šifarnik (da/ne) | Šifarnik | Značenje podatka | Definicija prema ebIX standardu | Referenca na dokument sa https://www.ebix.org/artikel/documents
1 | Šifra instalisanog brojila | Meter Identifier | ALFANUMERIČKI NIZ | 50 znakova | 67433997 | NE |  | Serijski broj brojila koji sardži identifikacioni registar brojila koji je očitan, i koji se nalazi na natpisnoj pločici brojila. | The unique identification of the Meter that contains the register that has been read. | Business Requirements for Measure, Collected Data.pdf
2 | Proizvođač brojila | Meter Vendor | ALFANUMERIČKI NIZ | 20 karaktera | Iskraemeco | NE |  | Naziv proizvođača | The name of the Meter manufacturer
3 | Tip brojila | Meter Type | ALFANUMERIČKI NIZ | 30 karaktera | MT880-T1A42R56 | NE |  | Naziv tipa brojila | The name of the Meter type
4 | Godina proizvodnje brojila | Meter Production Year | INTEGER | 4 cifre | 2019 | NE |  | Godina proizvodnje brojila | Year of production of the Meter
5 | Godina sljedećeg baždarenja brojila | Next Meter Calibration Year | INTEGER | 4 cifre | 2025 | NE |  | Godina sljedećeg baždarenja brojila | Year of the next calibration of the Meter
Note on G3: Author: kreiranje šifarnika proizvođača bi osiguralo jednoobraznost naziva proizvođača i omogućilo manji broj karaktera za razmjenu
Note on G4: Author: kreiranje jedinstvenog šifarnika tipova brojila bi osiguralo jednoobraznost skraćenog naziva tipa brojila koji bi se mogao koristiti u razmjeni podataka i omogućilo manji broj karaktera za razmjenu

## 04 Registri očitanja
R.br. | Naziv podatka | ElementName (engleski naziv) | Tip podatka | Ograničenja | Primjer podataka | Šifarnik (da/ne) | Šifarnik | Značenje podatka | Definicija prema ebIX standardu | Referenca na dokument sa https://www.ebix.org/artikel/ documents
Meter Read Requst General Data:
1 | Vrsta očitanja koja se traži/dostavlja | Product Identifier | INTEGER | 13 cifara | 871867000030 | DA | EnergyProductIdentifier | Kod koji specificira energetski produkt za koji se traži očitanje | A code specifying energy product for which the need for a Meter Read is notified | Business Information Model for Measure for Determine Meter Read.pdf
2 | Zahtjevani datum očitanja | Requested reading date | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:15:00' | NE |  | Datum za koji se traži očitanje | The date for which the meter read is requested | Business Information Model for Measure for Determine Meter Read.pdf
3 | Smjer | Direction | ALFANUMERIČKI NIZ | 3 znaka | E18 | DA | MeteringPointTypeCode | Kod koji specificira tok aktivne energije na određenom mjernom mjestu (potrošnja, proizvodnja, kombinovani) | A code specifying the direction of the active energy flow in this Metering Point, such as consumption, production or combined | Business Information Model for Measure for Determine Meter Read.pdf
4 | Razlog traženja očitanja brojila | BusinessReason | ALFANUMERIČKI NIZ | 3 znaka | E20 | DA | BusinessReasonCode | Kod koji specificira poslovni proces kao dio specifikacije konteksta zahtjeva za očitanjem | A code specifying a business process as part of the specification of the context for this request | Business Information Model for Measure for Determine Meter Read.pdf
5 | Razlog odbijanja zahtjeva za očitanje | Reason for failure | ALFANUMERIČKI NIZ | 3 znaka | E0H | DA | ResponseReasonDescriptionCode | Kod koji specificira razlog za negativan odgovor na zahtjev za očitanje | A code specifying the reason for this negative response | Business Requirements for Measure, Collected Data.pdf
| Očitanje registra brojila | MeterRead
6 | Redni broj očitanja u skupu očitanih podataka | Position | INTEGER |  | 2 | NE |  | Redna pozicija u širem skupu podataka OČITANJA | The ordinal position of this observation in this set of collected data | Business Requirements for Measure, Collected Data.pdf
7 | Količina | Quantity | DECIMALNI BROJ |  | 230 | NE |  | Niz karaktera koji sadrže očitanje registra koji se posmatra | The character string as read from the register for this observation | Business Requirements for Measure, Collected Data.pdf
8 | Indikacija nedostajućeg očitanja | Quantity Missing | BOOLEAN |  | YES | NE |  | Indikacija da li određena količina nedostaje za posmatrani registra ili ne | The indication whether or not the quantity of this observation is missing | Business Requirements for Measure, Collected Data.pdf
9 | Očitana vrijednost | Read | DECIMALNI BROJ |  | 26532 | NE |  | Niz karaktera koji sadrže očitanje registra koji se posmatra | The character string as read from the register for this observation. This read is at the basis of the validated data in Observation. | Business Requirements for Measure, Collected Data.pdf
10 | Mjerna jedinica (kWh, kW, kVArh...) | Product Measure Unit | ALFANUMERIČKI NIZ | 5 znakova | kWH | DA | MeasurementUnitCommonCode | Jedinica mjere korištena za izražavanje količine za određeno očitanje ili količinu | The unit of measure used for the quantity for this observation | Business Requirements for Measure, Collected Data.pdf
11 | Broj brojila | Meter Identifier | ALFANUMERIČKI NIZ | 20 znakova | 67433997 | NE |  | Jedinstveni identifikator brojila koje sadrži registar koji je očitan. | The unique identification of the Meter that contains the register that has been read. | Business Requirements for Measure, Collected Data.pdf
12 | Registar | Register Identifier | ALFANUMERIČKI NIZ |  | EPBIH-KP-14559481 | DA | RegisterIdentifierCode | Jedinstveni identifikator registra koji je očitan. | The unique identification of the register that has been read. | Business Requirements for Measure, Collected Data.pdf
13 | Datum očitanja stanja mjernog uređaja | Registration Date Time | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:15:00' | NE |  | Vremenska oznaka registracije očitanja na određenom mjernom mjestu, odnosno pripadajućem brojilu | The date time of the registration of this set of collected data | Business Requirements for Measure, Collected Data.pdf
14 | Rezolucija podatka | Resolution | ALFANUMERIČKI NIZ |  | 1 sat | DA | MeterReadingResolutionCode | Rezolucija seta prikupljenih podataka izražena kao vrijeme između početka i završetka uzastopnih očitanja unutar seta prikupljenih podataka. | The resolution of this set of collected data expressed as a duration between the start and the end of subsequent MeterReads within the set of collected data | Business Requirements for Measure, Collected Data.pdf
R.br. | Naziv podatka | ElementName (engleski naziv) | Tip podatka | Ograničenja | Primjer podataka | Šifarnik (da/ne) | Šifarnik | Značenje podatka | Definicija prema ebIX standardu | Referenca na dokument sa https://www.ebix.org/artikel/ documents
15 | Broj cifara očitanja | Number of Digits for Meter Read
16 | - Cijelih | Whole digits | DECIMALNI BROJ |  | 5 | NE
17 | - Decimalni | Decimal digits | DECIMALNI BROJ |  | 0 | NE
| Agregirani podaci: | Final Profiled Consumption:
18 | Period finalnog profila opterećenja | Observation period | ALFANUMERIČKI NIZ |  |  |  |  | Vremenski period koji opisuje trajanje seta podataka o finalnom profilu opterećenja | A specific period of time describing the duration of this set of Final Profiled Consumption | Business Requirements for Settle for Reconciliation.pdf
19 | Rezolucija podatka | Resolution | ALFANUMERIČKI NIZ |  | 1h | NE |  | Rezolucija seta prikupljenih podataka izražena kao vrijeme između početka i završetka uzastopnih očitanja unutar seta prikupljenih podataka. Na nivou BiH rezolucija je definisana kao 1h. | The resolution of this set of collected data expressed as a duration between the start and the end of subsequent observations within the set of Final Profiled Consumption | Business Requirements for Settle for Reconciliation.pdf
20 | Identifikator produkta | Product Identifier | INTEGER | 13 cifara | 871867000030 | DA | EnergyProductIdentifier | Kod koji specificira energetski produkt za količinu unutar određenog perioda za finalnu krivu opterećenja | A code specifying energy product for the quantity in this time series/set of Final Profile Consumption | Business Requirements for Settle for Reconciliation.pdf
21 | Mjerna jedinica (kWh, kW, kVArh...) | Product Measure Unit | ALFANUMERIČKI NIZ | 5 znakova | kWH | DA | MeasurementUnitCommonCode | Jedinica mjere korištena za izražavanje količine unutar određenog perioda finalnog profila opterećenja | The unit of measure used for the quantity in this time series/set of Final Profile Consumption | Business Requirements for Settle for Reconciliation.pdf
22 | Vrijeme posljednjeg ažuriranja | Latest Update Date | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:15:00' | NE |  | Posljednje vrijeme kada je jedan ili više intervala agregiranih podataka koji će se koristiti za poravnanje debalansa ažuriran | The latest date on which one or more of the volumes of aggregated measured data to be used for the imbalanced settlement have been updated | Business Requirements for Settle for Reconciliation.pdf
23 | Strana odgovorna za poravnanje | Reconciliation Accountable | ALFANUMERIČKI NIZ |  | 36X-PETROLBHOIL1 |  |  | Jedinistveni identifikator strane odgovorne za poravnanje, koja je finansijski odgovorna za specificiranu finalnu krivu opterećenja | The unique identification of the Reconciliation Accountable that is financially accountable for the Final Profile Consumption specified | Business Requirements for Settle for Reconciliation.pdf
| ODS mreža na koju se primjenjuje finalni profil opterećenja | Meter Grid Area
24 | ODS identifikator | Identifier | ALFANUMERIČKI NIZ |  | 36X010-EP---BIHV | DA | DSOCode | Jedinstveni identifikator ODS-a | The unique identification of this Metering Grid Area | Business Requirements for Settle for Reconciliation.pdf
| Profil opterećenja za određeni period | Observation | [5 empty] | Skup od jedne ili više finalnih krivih opterečenja za određeni period. | A set of one or more Final Profile Consumptions for a detail period. The detail set volumes may be a part of a wider (e.g. 24 hour) set of such volumes | Business Requirements for Settle for Reconciliation.pdf
25 | Pozicija | Position | DECIMALNI BROJ |  | 1 | NE |  | Redna pozicija u širem skupu podataka finalnog profila opterećenja | The ordinal position in the wider set of Final Profiled Consumptions | Business Requirements for Settle for Reconciliation.pdf
| Detalji profila opterećenja za određeni period | Observation detail | [7 empty] | Business Requirements for Settle for Reconciliation.pdf
26 | Količina | Quantity | DECIMALNI BROJ |  | 26 | NE |  | Ukupna potrošnja - količina energije za određeni period | The final profiled consumption - quantity of energy for this observation | Business Requirements for Settle for Reconciliation.pdf
27 | TOU (time of use) | Meter Time Frame Type | ALFANUMERIČKI NIZ | 3 znaka | E10 | DA | MeterTimeFrameCode | Kod koji specificira tarifni stav na brojilu na koji se odnosi određena količina ili očitanje | A code specifying meter time frame for the quantity in question | Business Requirements for Settle for Reconciliation.pdf
| Kriteriji agregacije: | Aggregation criteria:
28 | Standardni profil opterećenja | Standard Load Profile | ALFANUMERIČKI NIZ |  | CLP_10 | DA | StandardLoadProfileCode | Standardna kriva opterećenja korištena za ovo agregiranje | The standard load profile for this aggregation | Business Requirements for Settle for Reconciliation.pdf
Note on F3: Amela Causevic vrijednost iz primjera se odnosi na aktivnu energiju
Note on C11: Author: Korištenje polja Quantity i Quantity missing je ovisno - koristi se jedno ili drugo polje, ovisno o raspoloživim podacima u registru
Note on B12: Author: koristi se za: prethodno stanje manje tarife prethodno stanje vece tarife novo stanje manje tarife novo stanje vece tarife ocitana obracunska snaga
Note on C14: Author: obavezan podatak u porukama očitanja
Note on C15: Author: obavezan podatak u porukama očitanja
Note on F15: Ljilja: trebalo bi definisati šifarnik registara, npr. u skladu sa OBIS definicijama registara za koje se šalju vrijednosti očitanja kako bi se pojednostavila komunikacija
Note on F17: Ljilja: rezolucija zavisi od razloga traženja očitanja. Za redovna obračunska očitanja: to su očitanja na granične datume obračunskih perioda rezolucja je mjesec. Za čitanja prilikom zamjene brojila, rezolucija može biti dan Za profile opterećenja može biti 15 minuta ako se posmatra mjerenje. O ovom podatku treba diskutovati.
Note on B19: Ljilja: ovi podaci su definisani tipom brojila. Ako bi postojao šifarnik tipova brojila smanjili bismo probleme pogrešnih unosa (za buduće verzije standarda, rješavati pitanje šifarnika tipova brojila)
Note on B23: Author: Pretpostavka da se izražava u broju sati
Note on F25: Amela Causevic vrijednost iz primjera se odnosi na aktivnu energiju
Note on H37: Author: šifarnik kreirati prema kategorijama krivih opterećenja usvojenim od strane regulatornih komisija (ebIX nema standardnu šemu, svaka država kreira svoj šifarnik)

## 05 Obracunski podaci
R.br. | Naziv podatka | ElementName (engleski naziv) | Tip podatka | Ograničenja | Primjer podataka | Šifarnik (da/ne) | Šifarnik | Značenje podatka | Definicija prema ebIX standardu | Referenca na dokument sa https://www.ebix.org/artikel/documents
| Validirani obračunski podaci | Validated Billing Data | [5 empty] | Set informacija koje dostavlja validator za validaciju izmjerenih podataka za mjerno mjesto kako bi se omogućio obračun energije na tom mjernom mjestu | The information set sent by the Validator for the validation of measured data for a Metering Point in order to enable the billing of energy for this Metering Point
1 | Obračunski period | Observation period | ALFANUMERIČKI NIZ |  | 01.07.2019.-31.07.2019. | NE |  | Određeni period koji opisuje trajanje seta prikupljenih podataka | A specific period of time describing the duration of this set of collected data. | Business Requirements for Measure for Billing.pdf
2 | Datum očitanja stanja mjernog uređaja | Registration Date Time | DATE | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]*" | '2019-06-23' | NE |  | Vremenska oznaka registracije određenog seta validiranih podataka za obračun | The date time of the registration of this set of validated data | Business Requirements for Measure for Billing.pdf
3 | Tip mjernog mjesta | Metering Point Type | ALFANUMERIČKI NIZ | 3 karaktera | E17 | DA | MeteringPointTypeCode | Kod koji specificira tok aktivne energije za određeno mjerno mjesto (potrošnja, proizvodnja ili kombinovano) | A code specifying the direction of the active energy flow in this Metering Point, such as consumption, production or combined | Business Requirements for Measure for Billing.pdf
4 | Identifikator produkta | Product Identifier | INTEGER | 13 cifara | 871867000030 | DA | EnergyProductIdentifier | Kod koji specificira energetski produkt za količinu unutar određenog seta podataka | A code specifying energy product for the quantity in this time series | Business Requirements for Measure for Billing.pdf
5 | Mjerna jedinica (kWh, kW, kVArh...) | Product Measure Unit | ALFANUMERIČKI NIZ | 5 znakova | kWH | DA | MeasurementUnitCommonCode | Jedinica mjere za količinu u određenom setu izmjerenih podataka | The unit of measure used for the quantity in this time series/set of measured data | Business Requirements for Measure for Billing.pdf
6 | Razlog očitanja | Business Reason | ALFANUMERIČKI NIZ | 3 znaka | E23 (kod za redovno očitanje) | DA | BusinessReasonCode | Kod koji specificira poslovni proces kao dio specifikacije konteksta zahtjeva za očitanjem | A code specifying a business process as part of the specification of the context for this request | Business Requirements for Measure for Billing.pdf
| Mjerno mjesto koje se obračunava | Metering Point
7 | ID mjernog mjesta | Identifier | ALFANUMERIČKI NIZ | 16 cifara | 36Z0110075261187 | NE |  | Jedinstvena šifra mjernog mjesta na koju se odnose validirani podaci | The unique identification of the Metering Point to which validated data are attributed | Business Requirements for Measure for Billing.pdf
| Brojilo koje se obračunava | Meter
8 | Broj brojila | Meter Identifier | ALFANUMERIČKI NIZ | 20 znakova | 67433997 | NE |  | Jedinstveni identifikator brojila koje sadrži registar koji je očitan. | The unique identification of the Meter that contains the register that has been read. | Business Requirements for Measure, Collected Data.pdf
| Registri: | Register: | [5 empty] | Fizički ili logički brojači koji mjere energetske veličine (produkte) | A physical or logical counter measuring energy products | Business Requirements for Measure for Billing.pdf
9 | ID registra (kanala podataka) | Register Identifier | ALFANUMERIČKI NIZ |  | EPBIH-KP-14559481 | DA | RegisterIdentifierCode | Jedinstveni identifikator registra koji je očitan. | The unique identification of the register that has been read. | Business Requirements for Measure, Collected Data.pdf
| Registarska očitanja | Register Read | [5 empty] | Očitanje registra i njegove karakteristike. Ovo očitanje je osnova validiranih podataka unutar elementa potrošnje (Observation). | A read from the register and its characteristics. This read is at the basis of the validated data in Observation. | Business Requirements for Measure for Billing.pdf
10 | Očitana vrijednost | Read | DECIMALNI BROJ |  | 26532 | NE |  | Niz karaktera pročitan iz registra za određeni element potrošnje | The character string as read from the register for this observation. | Business Requirements for Measure for Billing.pdf
11 | Izvor podatka | Origin | ALFANUMERIČKI NIZ |  |  | DA | MeterReadingOriginCode | Kod koji specificira porijeklo očitanja | A code specifying the origin of this meter read | Business Requirements for Measure for Billing.pdf
12 | Datum očitanja stanja registra | Registration Date Time | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:15:00' | NE |  | Vremenska oznaka očitanja u osnovi mjerenih podataka | The timestamp for the meter read at the basis of these measured data | Business Requirements for Measure for Billing.pdf
R.br. | Naziv podatka | ElementName (engleski naziv) | Tip podatka | Ograničenja | Primjer podataka | Šifarnik (da/ne) | Šifarnik | Značenje podatka | Definicija prema ebIX standardu | Referenca na dokument sa https://www.ebix.org/artikel/documents
Potrošnja:
13 | Redni broj vrijednosti potrošnje u skupu validiranih podataka | Position | DECIMALNI BROJ | 3 |  | NE |  | Redna pozicija u setu validiranih obračunskih podataka | The ordinal position of this observation in this set of validated data | Business Requirements for Measure for Billing.pdf
14 | Količina | Quantity | DECIMALNI BROJ | 256 |  | NE |  | Validirana količina energije za posmatrani skup obračunskih podataka | The validated quantity of energy in this set of validated data | Business Requirements for Measure for Billing.pdf
15 | Obračunata energija u manjoj tarifi | Billed energy in lower tariff | DECIMALNI BROJ |  |  | NE
16 | Obračunata energija u većoj tarifi | Billed energy in higher tariff | DECIMALNI BROJ |  |  | NE
17 | Obračunska snaga | Billed power | DECIMALNI BROJ |  |  | NE
18 | Ukupno obračunata energija u manjoj tarifi | Total billed power in lower tariff | DECIMALNI BROJ |  |  | NE
19 | Ukupno obračunata energija u većoj tarifi | Total billed power in higher tariff | DECIMALNI BROJ |  |  | NE
20 | Gubitak u transformaciji na manjoj tarifi | Transformation Losses for Low Tariff | DECIMALNI BROJ |  |  | NE
21 | Supotrošnja na manjoj tarifi | Subconsumption for Low Tariff | DECIMALNI BROJ |  |  | NE
22 | Zajednička potrošnja na manjoj tarifi | Common consumption in lower tariff | DECIMALNI BROJ |  |  | NE
23 | Penalisanje na manjoj tarifi | Penalty for lower tariff | DECIMALNI BROJ |  |  | NE
24 | Ukupno obračunata energija u manjoj tarifi | Total billed energy for lower tariff | DECIMALNI BROJ |  |  | NE
25 | Gubitak u transformaciji na većoj tarifi | Transformation Losses for Higher Tariff | DECIMALNI BROJ |  |  | NE
26 | Supotrošnja na većoj tarifi | Subconsumption for Higher Tariff | DECIMALNI BROJ |  |  | NE
27 | Zajednička potrošnja na većoj tarifi | Total Consumption for Higher Tariff | DECIMALNI BROJ |  |  | NE
28 | Penalisanje na većoj tarifi | Penalty for Higher Tariff | DECIMALNI BROJ |  |  | NE
29 | Ukupno obračunata energija u većoj tarifi | Total Billed Energy for Higher Tariff | DECIMALNI BROJ |  |  | NE
30 | Gubitak na obračunskoj snazi usljed transformacije | Transsformation Power Loss | DECIMALNI BROJ |  |  | NE
31 | Supotrošnja na obračunskoj snazi | Subconsumption for Billed Power | DECIMALNI BROJ |  |  | NE
32 | Zajednička potrošnja na obračunskoj snazi | Common Consumption for Billed Power | DECIMALNI BROJ |  |  | NE
33 | Penalisanje na obračunskoj snazi | Penalty for Billed Power | DECIMALNI BROJ |  |  | NE
34 | Ukupno na obračunskoj snazi | Total Billed Power | DECIMALNI BROJ |  |  | NE
35 | Time of use | Meter Time Frame Type | ALFANUMERIČKI NIZ | 3 znaka | E10 | DA | MeterTimeFrameCode | Kod koji specificira tarifu za posmatrani element obračunskih podataka | A code specifying meter time frame for the quantity in question | Business Requirements for Measure for Billing.pdf
36 | Razlog odbijanja zahtjeva za dostavu obračunskih podataka | Reason for Failure | ALFANUMERIČKI NIZ |  | E50 (Invalid Period) | DA | ResponseReasonDescriptionCode | Kod koji specificira razlog odbijanja obračunskih podataka | A code specifying the reason for the rejection of the requsted validated data for billing | Business Requirements for Measure for Billing.pdf
Additional Data
37 | Datum prethodnog očitanja | Last Registration Date | DATE | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]*" | '2019-06-23' | NE |  | Datum prethodnog očitanja
38 | Konstanta maksigrafa | Peak Power Constant | DECIMALNI BROJ | 80 |  | NE
39 | EIC kod mjernog mjesta zajedničke potrošnje | Common Consumption EIC Code | ALFANUMERIČKI NIZ | 16 cifara | 36Z0110075261187 | NE
40 | EIC kod mjernog mjesta subpotrošnje | Subconsumption EIC Code | ALFANUMERIČKI NIZ | 16 cifara | 36Z0110075261187 | NE
Note on H5: Author: E17 Consumption E18 Production E19 Combined
Note on F6: Amela Causevic vrijednost iz primjera se odnosi na aktivnu energiju
Note on C12: Author: obavezan podatak u porukama obračuna
Note on C14: Author: obavezan podatak u porukama obračuna
Note on F14: Author: trebalo bi definisati šifarnik registara, npr. u skladu sa OBIS definicijama registara za koje se šalju vrijednosti očitanja kako bi se pojednostavila komunikacija
Note on B16: Author: koristi se za: prethodno stanje manje tarife prethodno stanje vece tarife novo stanje manje tarifenovo stanje vece tarife ocitana obracunska snaga
Note on B42: Author: Sve označene stavke bismo mogli riješiti korištenjem elementa Quantity i odgovarajućeg šifarnika obračunskih/tarifnih elemenata

## 06 Ugovori i rješenja
R.br. | Naziv podatka | ElementName (engleski naziv) | Tip podatka | Ograničenja | Primjer podataka | Šifarnik (da/ne) | Šifarnik | Značenje podatka | Definicija prema ebIX standardu | Referenca na dokument sa https://www.ebix.org/artikel/documents
1 | Identifikator ugovora | Contract ID | ALFANUMERIČKI NIZ | 100 znakova | ST – 605 -31-01/18 | NE |  | Identifikator ugovora pod kojm je ugovor evidentiran
2 | Datum početka ugovora | Contract Start Date | DATE | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]*" | '2019-06-23' | NE |  | Datum početka ugovora
3 | Datum završetka ugovora | Contract End Date | DATE | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]*" | '2019-06-23' | NE |  | Datum završetka ugovora
4 | Tip ugovora | Contract Type | ALFANUMERIČKI NIZ | 200 znakova | Ugovor o korištenju | DA | ContractTypeCode | Tip ugovora definisan prema ugovornom organu koji je nosilac ugovora
5 | Mjesec i godina | DateYear | ALFANUMERIČKI NIZ |  | August 2019 | NE |  | Mjesec i godina na koju se odnosi određena ugovorena količina energije
6 | Ugovorena količina | ContractedConsumption | DECIMALNI BROJ |  | 2500 | NE |  | Ugovorena količina energije za određeni mjesec
7 | Vrijeme prekida rada | End of Work Date | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' | NE |  | Vrijeme prekida rada ugovorne strane (npr. snabdjevača)
8 | Razlog prekida rada | End of Work Reason | ALFANUMERIČKI NIZ |  | Bankrot snabdjevača | DA | EndOfWorkReasonCode | Razlog prekida rada ugovorne strane (npr. snabdjevača)
9 | Vrsta snabdijevanja (J/T/R) | Supply Contract Type | ALFANUMERIČKI NIZ | 50 znakova | Tržišno snabdijevanje | DA | SupplyContractTypeCode | Vrsta snabdijevanja (J/T/R)
10 | Datoteka potpisanog ugovora o snabdijevanju | ContractFile | PDF FILE |  |  | NE |  | Datoteka potpisanog ugovora o snabdijevanju
11 | Rješenje o pokrenutom sporu | DecisionUnderAppeal | ALFANUMERIČKI NIZ | 50 znakova | 25615/2019 |  |  | Broj protokola rješenja o upravnom sporu
Note on H5: Author: Grid access contract Supply contract

## 07 Učesnici
R.br. | Naziv podatka | Naziv podatka engleski | Tip podatka | Ograničenja | Primjer podataka | Šifarnik (da/ne) | Šifarnik | Značenje podatka | Definicija prema ebIX standardu | Referenca na dokument sa https://www.ebix.org/artikel/documents
1 | Identifikator ODS-a | Metered Data Responsible ID | ALFANUMERIČKI NIZ | 16 karaktera | 36X010-EP---BIHV | DA | DSOCode | Jedinstveni identifikator operatora distributibne mreže odgovornog za određeno mjerno mjesto, čiji je format definisan u skladu sa EDI standardom za BiH. | The unique identification of the Metered Data Responsible, responsible for this Metering Point. | Business Requirements for Alignment of Metering Point characteristics.pdf
2 | Naziv ODS-a | Meter Data Responsible Name | ALFANUMERIČKI NIZ | 200 karaktera | JP ELEKTROPRIVREDA BiH ODS | NE |  | Naziv operatora distributibne mreže odgovornog za određeno mjerno mjesto
3 | Identifikator snabdjevača | Balance Supplier ID | ALFANUMERIČKI NIZ | 16 karaktera | '36XEPBIHSARAJ--X' | DA | BalanceSupplierCode | Jedinstveni identifikator balansnog snabdjevača za određeno mjerno mjesto, čiji je format definisan u skladu sa EDI standardom za BiH. | The unique identification of the Balance Supplier responsible for this Metering Point. | Business Requirements for Alignment of Metering Point characteristics.pdf
4 | Naziv snabdjevača | Balance Supplier Name | ALFANUMERIČKI NIZ | 200 karaktera | JP ELEKTROPRIVREDA BiH Snabdjevač | NE |  | Naziv balansnog snabdjevača za određeno mjerno mjesto
5 | Identifikator balansno odgovorne strane | Balance Responsible Party ID | ALFANUMERIČKI NIZ | 16 karaktera | '36XEPBIHSARAJ--X' | DA | BalanceResponsiblePartyCode | Jedinstveni identifikator balansno odgovorne strane za određeno mjerno mjesto, čiji je format definisan u skladu sa EDI standardom za BiH. | The unique identification of the Balance Responsible Party responsible for this Metering Point. | Business Requirements for Alignment of Metering Point characteristics.pdf
6 | Naziv balansno odgovorne strane | Balance Responsible Party Name | ALFANUMERIČKI NIZ | 200 karaktera | JP ELEKTROPRIVREDA BiH BOS | NE |  | Naziv balansnog odgovorne strane za određeno mjerno mjesto
| Adresa snabdjevača | Supplier address
7 | Grad | City name | ALFANUMERIČKI NIZ | 100 karaktera | Sarajevo | DA | CityCode | Naziv grada ili sela u okviru adrese snabdjevača
8 | Opština | Municipality | ALFANUMERIČKI NIZ | 100 karaktera | Centar | DA | MunicipalityCode | Naziv opštine u okviru adrese snabdjevača
9 | Ulica | Street name | ALFANUMERIČKI NIZ | 256 karaktera | Kranjčevićeva | DA | StreetCode | Naziv ulice u okviru adrese snabdjevača
10 | Ulični broj | Building number | ALFANUMERIČKI NIZ | 8 karaktera | 37 | NE |  | Ulični broj u okviru adrese snabdjevača
11 | Poštanski broj | Postcode | INTEGER | 5 cifara | 71000 | DA | PostalCode | Pošta u okviru adrese snabdjevača
12 | Broj stana | Room Identification | ALFANUMERIČKI NIZ | 2 karaktera | 3 | NE |  | Broj stana u okviru adrese mjernog mjesta
13 | Broj sprata | Floor Identification | ALFANUMERIČKI NIZ | 20 karaktera | 3 | NE |  | Broj sprata u okviru adrese mjernog mjesta
14 | Država | Country | ALFANUMERIČKI NIZ | 20 karaktera | BiH | DA | CountryCode | Naziv države u okviru adrese snabdjevača
15 | Kontakt telefon snabdjevača | Supplier Contact Phone Number | ALFANUMERIČKI NIZ | 100 karaktera | 38733751373, +38733751302 | NE |  | Niz karaktera koji predstavlja broj telefona koji se može koristiti za komunikaciju sa snabdjevačem
16 | Kontakt e-mail adresa snabdjevača | Supplier Contact E-mail Address | ALFANUMERIČKI NIZ | 100 karaktera | m.keco@epbih.ba | NE |  | Niz karaktera koji predstavlja e-mail adresu koja se može koristiti za komunikaciju sa snabdjevačem
Note on H4: Author: 36X-ATEL-BH-SA-4 36X-AXPOBHSARAJ9 36X-DANSKECO-BH2 36XEZPADA-BA---D 36X-GEN-I-BIH--7 36X-HEPTRADEBIHD 36X-HSE-BH-SAR-C 36X-INTERENERGOM 36XEPBIHSARAJ--X 36XEPHZHBMOSTARI 36XEP-RSRPSKE--S 36X-PETROLBHOIL1 36X-PROFECTIOBH1 36X-G-PETROL - - -8 36XLETRADINGBH-X 36X-PRVPLINBIH-4

## 08 Podaci zaglavlja i procesa
R.br. | Naziv podatka | ElementName (engleski naziv) | Tip podatka | Ograničenja | Primjer podataka | Šifarnik (da/ne) | Šifarnik | Značenje podatka | Definicija prema ebIX standardu | Referenca na dokument sa https://www.ebix.org/artikel/documents
| Podaci zaglavlja poruke | Energy Document
1 | Identifikator transakcije | Identification | ALFANUMERIČKI NIZ | 100 karaktera | CoS_EoS_11112018_062105 | NE
2 | Datum kreiranja poruke | Creation | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' | NE
3 | Tip dokumenta | Document Type | ALFANUMERIČKI NIZ | 3 karaktera | E07 (Master data, metering point, resp.role=DDZ) | DA | DocumentNameCode |  | A code representing the document type used for the exchange of this set of information. | Business Requirements for Alignment of Metering Point characteristics.pdf
4 | Poslovni razlog | Business Reason | ALFANUMERIČKI NIZ | 3 karaktera | E0G (Data alignment master data MP) | DA | BusinessReasonCode |  | A code representing the business reason for the exchange of this set of information. | Business Requirements for Alignment of Metering Point characteristics.pdf
5 | Pomoćna uloga poslovnog procesa | Anciliary Business Process Role | ALFANUMERIČKI NIZ | 3 karaktera | DDK | DA | BusinessRoleCode |  | A code representing the market role taking part in this exchange together with the role responsible for the process/this exchange. | Business Requirements for Alignment of Metering Point characteristics.pdf
6 | ID pošiljaoca | SenderEnergyParty | ALFANUMERIČKI NIZ | 16 karaktera | 36X010-EP---BIHV | DA | DSOCode, BalanceSupplierCode, BalanceResponsiblePartyCode
7 | ID primaoca | RecipientEnergyParty | ALFANUMERIČKI NIZ | 16 karaktera | '36XEPBIHSARAJ--X' | DA | DSOCode, BalanceSupplierCode, BalanceResponsiblePartyCode
| Podaci procesa | Energy Context
8 | Poslovni proces | Energy Business Process | ALFANUMERIČKI NIZ | 3 karaktera | E01 | DA | BusinessReasonCodeType
9 | Rola u poslovnom procesu | Energy Business Process Role | ALFANUMERIČKI NIZ | 3 karaktera | MDR | DA | BusinessRoleCode
10 | Klasifikacija industrije | Energy Industry Classification | ALFANUMERIČKI NIZ | 3 karaktera | 23 | DA | ectorAreaIdentificationCode
Note on F3: Author: Dogovoriti format identifikatora, npr:šifra procesa_šifra tipa poruke_timestamp

## 09 Ostali podaci payloada
R.br. | Naziv podatka | ElementName (engleski naziv) | Tip podatka | Ograničenja | Primjer podataka | Šifarnik (da/ne) | Šifarnik | Značenje podatka | Definicija prema ebIX standardu | Referenca na dokument sa https://www.ebix.org/artikel/documents
MasterDataMPEvent
| Zahtjev za dostavljanje karakteristika mjernog mjesta | RequestUpfrontMeteringPointCharacteristics
1 | ID transakcije | Transaction ID | ALFANUMERIČKI NIZ | '[1-9]-[0-9]{5}-[/]-[0-9]{4}*' | MDMP_12345678_20190623_062105 | NE |  |  | The unique identification of this set of information given by the Metering Point Administrator. | Business Requirements for Upfront Request for Metering Point Characteristics.pdf
2 | Razlog nedostavljanja matičnih podataka | One or more codes specifying the reason for the rejection of the Requested Upfront Metering Point Characteristics. | ALFANUMERIČKI NIZ | 3 karaktera | E16 | DA | ResponseReasonDescriptionCode | Jedan ili više kodova koji specificiraju razlog za odbijanje zahtjeva za karakteristike mjernog mjesta | One or more codes specifying the reason for the rejection of the Requested Upfront Metering Point Characteristic | Business Requirements for Upfront Request for Metering Point Characteristics.pdf
3 | Referenca na ID transakcije zahtjeva za matične podatke | Reference to requesting Transaction ID | ALFANUMERIČKI NIZ | '[1-9]-[0-9]{5}-[/]-[0-9]{4}*' | 156478/2019 (6-cifreni broj_naloga/godina) | NE |  |  | The Transaction ID from the request, where this is the response for, given by the Initiator. | Business Requirements for Upfront Request for Metering Point Characteristics.pdf
| Zahtjev za karakteristike kupca | RequestCustomerCharacteristics
4 | Datum početka validnosti | Validity Start Date | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' | NE |  |  | The date when the content of this business document becomes or became valid. | Business Requirements for alignment of characteristics for a Customer linked to a MP.pdf
5 | Datum snimka stanja | Snap-shot Date | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' | NE |  | Datum i vrijeme kada je neki set podataka kupca formiran od strane nadležne za njihovu administraciju | The date or date/time when this set of Customer Characteristics was derived from the Party Administration | Business Requirements for alignment of characteristics for a Customer linked to a MP.pdf
6 | ID poslovnog procesa | Business process ID | ALFANUMERIČKI NIZ | 3 karaktera | E23 | DA | BusinessProcessCode | Jedinstveni identifikator, dodjjeljen od snabdjevača, za karakteristike kupca | The unique identification, given by the Supplier (Candidate harmonised role: Party Administrator), of these Customer Characteristics. | Business Requirements for alignment of characteristics for a Customer linked to a MP.pdf
7 | ID ovlaštene uloge | Entitled Role ID | ALFANUMERIČKI NIZ | 16 karaktera | '36XEPBIHSARAJ--X' | DA | DSOCode, BalanceSupplierCode, BalanceResponsiblePartyCode | Jedinstveni identifikato uloge ovlaštene za traženje karakteristika kupca | The unique identification of the Entitled Role that requests Customer characteristics. | Business Requirements for alignment of characteristics for a Customer linked to a MP.pdf
8 | ID transakcije | Transaction ID | ALFANUMERIČKI NIZ | '[1-9]-[0-9]{5}-[/]-[0-9]{4}*' | 156478/2019 (6-cifreni broj_naloga/godina) | NE |  | Jedinstveni identifikator ovog seta informacija, dat od strane ODS-a | The unique identification of this set of information, given by the Grid Access Provider. | Business Requirements for alignment of characteristics for a Customer linked to a MP.pdf
9 | Datum validnosti | Validity Date | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' | NE |  | Datum za koji su zahtjevane karakteristike kupca validne | The date for when the requested Customer characteristics are valid. | Business Requirements for alignment of characteristics for a Customer linked to a MP.pdf
10 | Razlog | One or more codes specifying the reason for the rejection of the Requested Upfront Metering Point Characteristics. | ALFANUMERIČKI NIZ | 3 karaktera | E37 (no valid grid access contract) | DA | ResponseReasonDescriptionCode | Jedan ili više kodova koji specificiraju razlog za odbijanje zahtjeva za karakteristike kupca | One or more codes specifying the reason(s) for the rejection of the Request Customer characteristics. | Business Requirements for alignment of characteristics for a Customer linked to a MP.pdf
| Zahtjev za prestanak snabdijevanja | Request End of Supply
11 | Razlog za isključenje | Business Reason | ALFANUMERIČKI NIZ | 3 znaka | E20 | DA | BusinessReasonCode | Kod koji opisuje poslovni razlog za razmjenu ovog seta informacija | A code representing the business reason for the exchange of this set of information. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
12 | Datum planiranog isključenja | End date | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' | NE |  | Datum za koji snabdjevač traži isključenje mjernog mjesta od snabdjevača | The date from when the Energy Supplier requests to end supply for this Accounting point | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
13 | Obračunska tačka | Accounting point | ALFANUMERIČKI NIZ | 16 cifara | 36Z0110075261187 | NE |  | Jedinstveni identifikator obračunske tačke | The unique identification of the Accounting Point. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
14 | Identifikator snabdjevača | Energy Supplier ID | ALFANUMERIČKI NIZ | 16 karaktera | '36XEPBIHSARAJ--X' | DA | BalanceSupplierCode | Jedinstveni identifikator snabdjevača koji šalje zahtjev | The unique identification of the requesting Energy Supplier. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
15 | Identifikator balansno odgovorne strane | Balance Responsible Party ID | ALFANUMERIČKI NIZ | 16 karaktera | '36XEPBIHSARAJ--X' | DA | BalanceResponsiblePartyCode | Jedinstveni identifikator balansno odgovorne strane koja više neće biti odgovorna za ovu obračunsku tačku | The unique identification of the Balance Responsible Party that no longer will be balance responsible for this Accounting Point. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
16 | ID zahtjeva za isključenje | Transaction ID | ALFANUMERIČKI NIZ |  | REoS_12345678_20190623_062105 | NE |  | Jedinstveni identifikator ovog skupa informacija definisan od strane snabdjevača koji šalje zahtjev | The unique identification of this set of information given by the requesting Energy Supplier. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
17 | Datum opomene | Warning date | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' | NE |  | Datum izdavanja opomene kupcu zbog neplaćanja računa
| Potvrda prestanka snabdijevanja | Confirm Request End of Supply
18 | Identifikator naloga za isključenje | Transaction ID | ALFANUMERIČKI NIZ |  | CREoS_12345678_20190623_062105 | NE |  | Jedinstveni identifikator ovog skupa informacija definisan od strane administratora mjernog mjesta | The unique identification of this set of information given by the Metering Point Administrator. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
19 | Referenca na ID transakcije zahtjeva | Reference to requesting Transaction ID | ALFANUMERIČKI NIZ |  | REoS_12345678_20190623_062105 | NE |  | Identifikator transakcije iz zahtjeva snabdjevača za prestanak napajanja | The Transaction ID from the request given by the requesting Energy Supplier. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
20 | ID poslovnog procesa | Business process ID | ALFANUMERIČKI NIZ | 3 karaktera | E01 | DA | BusinessReasonCodeType | Jedinstveni identifikator poslovnog procesa zahtjeva za prestanak snabdijevanja, dat od strane administratora mjernog mjesta, čiji je ovaj odgovor dio | The unique identification, given by the Metering Point Administrator, of this Requested end of supply process that this response is a part of. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
21 | Datum realizovanog isključenja | End date | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' |  |  | Datum od kojeg balansni snabdjevač više ne snabdijeva mjerno mjesto | The date from when the Balance Supplier no longer is supplying this Metering Point | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
22 | Obračunska tačka | Accounting point | ALFANUMERIČKI NIZ | 16 cifara | 36Z0110075261187 | NE |  | Jedinstveni identifikator obračunske tačke | The unique identification of the Accounting Point. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
23 | Identifikator snabdjevača | Energy Supplier ID | ALFANUMERIČKI NIZ | 16 karaktera | '36XEPBIHSARAJ--X' | DA | BalanceSupplierCode | Jedinstveni identifikator snabdjevača koji šalje zahtjev | The unique identification of the requesting Energy Supplier. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
24 | Identifikator balansno odgovorne strane | Balance Responsible Party ID | ALFANUMERIČKI NIZ | 16 karaktera | '36XEPBIHSARAJ--X' | DA | BalanceResponsiblePartyCode | Jedinstveni identifikator balansno odgovorne strane koja više neće biti odgovorna za ovu obračunsku tačku | The unique identification of the Balance Responsible Party that no longer will be balance responsible for this Accounting Point. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
| Odbijanje zahtjeva za prestanak snabdijevanja | Reject Request End of Supply
25 | Razlog zašto mjerno mjesto nije isključeno | Reason | ALFANUMERIČKI NIZ | 3 karaktera | E10 (Metering Point not identifieble) | DA | ResponseReasonDescriptionCode | Jedan ili više kodova koji specificiraju razlog za odbijanje traženog prestanka snabdijevanja | One or more codes specifying the reason for the rejection of the requested End of Supply | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
26 | Identifikator odbijanja zahtjeva | Transaction ID | ALFANUMERIČKI NIZ |  | RREoS_12345678_20190623_062105 | NE |  | Jedinstveni identifikator ovog skupa informacija definisan od strane administratora mjernog mjesta | The unique identification of this set of information given by the Metering Point Administrator. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
27 | Referenca na ID transakcije zahtjeva | Reference to requesting Transaction ID | ALFANUMERIČKI NIZ |  | REoS_12345678_20190623_062105 | NE |  | Identifikator transakcije iz zahtjeva snabdjevača za prestanak napajanja | The Transaction ID from the request given by the requesting Energy Supplier. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
28 | Traženi datum planiranog isključenja | End date | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' | NE |  | Zahtjevani datum prestanka snabdijevanja koji je odbijen | The requested date for this end of supply that is rejected. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
29 | Obračunska tačka | Accounting point | ALFANUMERIČKI NIZ | 16 cifara | 36Z0110075261187 | NE |  | Jedinstveni identifikator obračunske tačke | The unique identification of the Accounting Point. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
| Zahtjev za masovnom promjenom balansno odgovorne strane | Request Bulk Change of BRP
30 | Datum početka preuzimanja mjernih mjesta od BOS | Start Date | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' | NE |  | Datum početka preuzimanja mjernih mjesta od nove balansno odgovorne strane | The requested date for the New Balance Responsible Party to take over the balance responsibility for these Accounting Points. | ebIX_Business_Requirements_for_bulk_change_of_Balance_Responsible Party.pdf
31 | Identifikator snabdjevača | Energy Supplier ID | ALFANUMERIČKI NIZ | 16 karaktera | '36XEPBIHSARAJ--X' | DA | BalanceSupplierCode | Jedinstveni identifikator snabdjevača koji šalje zahtjev | The unique identification of the requesting and responsible Energy Supplier | ebIX_Business_Requirements_for_bulk_change_of_Balance_Responsible Party.pdf
32 | ID nove balansno odgovorne strane | New Balance Responsible Party ID | ALFANUMERIČKI NIZ | 16 karaktera | '36XEPBIHSARAJ--X' | DA | BalanceResponsiblePartyCode | Jedinstveni identifikator nove balansno odgovorne strane | The unique identification of the requested New Balance Responsible Party. | ebIX_Business_Requirements_for_bulk_change_of_Balance_Responsible Party.pdf
33 | ID nove balansno odgovorne strane | Old Balance Responsible Party ID | ALFANUMERIČKI NIZ | 16 karaktera | '36XEPBIHSARAJ--X' | DA | BalanceResponsiblePartyCode | Jedinstveni identifikator stare balansno odgovorne strane | The unique identification of the requested Old Balance Responsible Party. | ebIX_Business_Requirements_for_bulk_change_of_Balance_Responsible Party.pdf
34 | Identifikator obračunske tačke za promjenu BOS | Identification | ALFANUMERIČKI NIZ | 16 karaktera | 36Z0110075261187 | NE |  | Jedinstvena identifikacija obračunske tačke za ovu grupnu promjenu BOS | The unique identification of an Accounting Point in this bulk change of Balance Responsible Party. | ebIX_Business_Requirements_for_bulk_change_of_Balance_Responsible Party.pdf
35 | Tip područja | Type of Area | ALFANUMERIČKI NIZ | 3 karaktera | A01 | DA | TypeOfAreaCode | Kod koji pokazuje tip područja, npr. područje ODS-a, područje balansne odgovornosti ili država | A code indicating the type of Area in question, such as a Metering Grid Area, a Market Balance Area or a country. | ebIX_Business_Requirements_for_bulk_change_of_Balance_Responsible Party.pdf
36 | Identifikator područja | Identification | ALFANUMERIČKI NIZ |  | ? | NE |  | Jedinstveni identifikator područja | The unique identification of the Area in question. | ebIX_Business_Requirements_for_bulk_change_of_Balance_Responsible Party.pdf
37 | Identifikator zahtjeva za preuzimanja mjernih mjesta od BOS | Transaction ID | ALFANUMERIČKI NIZ |  | RBCBRP_12345678_20190623_062105 | NE |  | Jedinstveni identifikator ovog skupa informacija definisan od strane administratora mjernog mjesta | The unique identification of this set of information given by the Metering Point Administrator. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
| Odbijanje zahtjeva za masovnom promjenom balansno odgovorne strane | Reject Request Bulk Change of BRP
38 | Razlog odbijanja zahtjeva za preuzimanja mjernih mjesta od BOS | Reason | ALFANUMERIČKI NIZ | 3 karaktera | E37 (no valid grid access contract) | DA | ResponseReasonDescriptionCode | Kod koji specificira razlog za odbijanje grupne promjene BOS | A code specifying the reason for the rejection of the Request bulk change of Balance Responsible Party. | ebIX_Business_Requirements_for_End_of_supply_v3r2B_20180605.pdf
| Ostali podaci tijela modifikovanih/novih poruka: | Additional payload data for modified/new messages:
39 | Dodatno obrazloženje za neisključenje mjernog mjesta | Additional explanation disconnection reject | ALFANUMERIČKI NIZ |  |  | NE |  | Dodatno obrazloženje za neisključenje mjernog mjesta
40 | Razlog uključenja | Connection Reason | ALFANUMERIČKI NIZ |  |  | NE |  | Razlog uključenja mjernog mjesta
41 | Datum realizovanog uključenja | Connection date | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' | NE |  | Datum realizovanog uključenja mjernog mjesta
42 | Razlog zašto mjerno mjesto nije uključeno | Dsiconnection Reject Reason | ALFANUMERIČKI NIZ | 3 znaka |  | DA | ResponseReasonDescriptionCode | Razlog zašto mjerno mjesto nije uključeno
43 | Dodatno obrazloženje za neuključenje mjernog mjesta | Additional explanation connection reject | ALFANUMERIČKI NIZ |  |  | NE |  | Dodatno obrazloženje za neuključenje mjernog mjesta
44 | Identifikator poziva za dopunu podataka | Request for additional data ID | ALFANUMERIČKI STRING | "[0-9].[0-9]" | '2.4'
45 | Identifikator poziva za izjašnjavanje | Request for statement ID | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]" | '2019-06-23 00:15:00'
46 | Lista informacija koje treba ponovo dostaviti | Required information list | ALFANUMERIČKI KARAKTER | 1 karakter | 'Y'
47 | Potvrda da je zahtjev usklađen | Aligned request confirmation | ALFANUMERIČKI STRING | 25 karaktera | 'ERROR'
48 | Lista informacija potrebna za zaključenje ugovora | List of information required for the Contract | UNSIGNED INTEGER
49 | Odbijanje zahtjeva za promjenu | Change request reject | ALFANUMERIČKI STRING | 256 karaktera
50 | Razlog odbijanja zahtjeva | Reason | ALFANUMERIČKI NIZ | 3 karaktera | E37 (no valid grid access contract) | DA | ResponseReasonDescriptionCode
51 | Očekivani datum početka primjene novog ugovora o snabdijevanju | Expected start date supply contract | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' | NE
52 | Očekivani datum završetka primjene novog ugovora o snabdijevanju | Expected end date supply contract | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' | NE
53 | Nemogućnost promjene | Reject change | BOOLEAN |  | YES | NE |  | Nemogućnost promjene
54 | Razlog nemogućnosti promjene | Reject change reason | ALFANUMERIČKI NIZ |  | istekao rok izjašnjavanja | NE |  | Razlog nemogućnosti promjene
55 | Lista podataka potrebnih za okončanje postupka | Additional data list | ALFANUMERIČKI NIZ |  | datum prestanka snabdijevanja | NE
56 | Identifikator obavještenja | Notification ID | ALFANUMERIČKI NIZ |  | NOT_12345678_20190623_062105 | NE |  | Identifikator obavještenja definisan od strane pošiljaoca
57 | Datum slanja obavještenja | Notification Date | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' | NE |  | Datum slanja obavještenja
58 | Datum početka snabdijevanja | Start Supply Date | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' | NE |  | Datum početka snabdijevanja od strane balansnog snabdjevača
59 | Identifikator za usaglašavanje podataka radi zaključivanja UOS |  | TIMESTAMP | "[0-9]{4}-[0-1][0-9]-[0-3][0-9]T[0-2][0-9]:[0-5][0-9]:[0-5][0-9].[0-9]*" | '2019-06-23 00:00:00' | NE
60 | Identifikator zahtjeva za pristup mreži ODS-a |  | ALFANUMERIČKI NIZ
61 | Identifikator potvrde o mogućnosti pristupa mreži ODS-a |  | ALFANUMERIČKI NIZ
62 | Identifikator odbijanja mogućnosti pristupa mreži ODS-a |  | ALFANUMERIČKI NIZ
63 | Identifikator razloga odbijanja pristupa |  | ALFANUMERIČKI NIZ
64 | Rješenje o odbijanju pristupa |  | ALFANUMERIČKI NIZ
65 | Identifikator pokretanja /nepokretanja rješavanja spora pred RERS-om |  | ALFANUMERIČKI NIZ
66 | Identifikator žalbe zbog odbijanja pristupa mreži |  | ALFANUMERIČKI NIZ
67 | Identifikator potrebe za dostavom podataka o predmetu u sporu |  | ALFANUMERIČKI NIZ
68 | Identifikator o zaključivanju UOS |  | ALFANUMERIČKI NIZ
69 | Identifikator o zaključivanju UOP |  | ALFANUMERIČKI NIZ
70 | Identifikator dostave UOS |  | ALFANUMERIČKI NIZ
71 | Identifikator izjašnjenja o terminu priključenja |  | ALFANUMERIČKI NIZ
72 | Datum traženog priključenja |  | ALFANUMERIČKI NIZ
73 | Datum planiranog priključenja na mrežu ODS-a |  | ALFANUMERIČKI NIZ
74 | Identifikator utvrđenog termina priključenja |  | ALFANUMERIČKI NIZ
75 | Identifikator potvrde izvršenog priključenja |  | ALFANUMERIČKI NIZ
76 | Datum izvršenog priključenja na mrežu ODS-a |  | ALFANUMERIČKI NIZ
77 | Identifikator pokretanja rješavanja spora pred FERK-om |  | ALFANUMERIČKI NIZ
78 | Identifikator zahtjeva za pristup mreži ODS-a |  | ALFANUMERIČKI NIZ
79 | Identifikator razloga odbijanja pristupa |  | ALFANUMERIČKI NIZ
80 | Prihvatanje žalbe | Appeal Accept | BOOLEAN |  | NO | NE |  | Potvrda ili odbijanje žalbe
Note on F4: Author: potrebno je definisati način formatiranja podatka, npr. tip poruke_broj poruke_timestamp
Note on F12: Author: treba dogovoriti format ID transakcije
Note on H19: Author: 36X-ATEL-BH-SA-4 36X-AXPOBHSARAJ9 36X-DANSKECO-BH2 36XEZPADA-BA---D 36X-GEN-I-BIH--7 36X-HEPTRADEBIHD 36X-HSE-BH-SAR-C 36X-INTERENERGOM 36XEPBIHSARAJ--X 36XEPHZHBMOSTARI 36XEP-RSRPSKE--S 36X-PETROLBHOIL1 36X-PROFECTIOBH1 36X-G-PETROL - - -8 36XLETRADINGBH-X 36X-PRVPLINBIH-4
Note on F21: Author: potrebno je definisati način formatiranja podatka, npr. tip poruke_broj poruke_timestamp
Note on F24: Author: potrebno je definisati način formatiranja podatka, npr. tip poruke_broj poruke_timestamp
Note on H29: Author: 36X-ATEL-BH-SA-4 36X-AXPOBHSARAJ9 36X-DANSKECO-BH2 36XEZPADA-BA---D 36X-GEN-I-BIH--7 36X-HEPTRADEBIHD 36X-HSE-BH-SAR-C 36X-INTERENERGOM 36XEPBIHSARAJ--X 36XEPHZHBMOSTARI 36XEP-RSRPSKE--S 36X-PETROLBHOIL1 36X-PROFECTIOBH1 36X-G-PETROL - - -8 36XLETRADINGBH-X 36X-PRVPLINBIH-4
Note on F33: Author: potrebno je definisati način formatiranja podatka, npr. tip poruke_broj poruke_timestamp
Note on H39: Author: 36X-ATEL-BH-SA-4 36X-AXPOBHSARAJ9 36X-DANSKECO-BH2 36XEZPADA-BA---D 36X-GEN-I-BIH--7 36X-HEPTRADEBIHD 36X-HSE-BH-SAR-C 36X-INTERENERGOM 36XEPBIHSARAJ--X 36XEPHZHBMOSTARI 36XEP-RSRPSKE--S 36X-PETROLBHOIL1 36X-PROFECTIOBH1 36X-G-PETROL - - -8 36XLETRADINGBH-X 36X-PRVPLINBIH-4
Note on F44: Author: Definisati kako formatirati ovaj podatak
Note on F45: Author: potrebno je definisati način formatiranja podatka, npr. tip poruke_broj poruke_timestamp
Note on F66: Author: potrebno je definisati način formatiranja podatka, npr. tip poruke_broj poruke_timestamp